## Slide 2: Diabetic Nephropathy and Retinopathy

## Slide 3
Published studies show a strong association between CKD and diabetic retinopathy (DR)
Kidney International (2014) 85, 1290–1302
Common risk factors and pathogenetic mechanisms underlying both kidney and eye diseases

## Slide 4
Kidney International (2020) 98, 323–342
Similar structure between the glomerular filtration barrier (blood-urine barrier) in the kidney and the retinochoroidal junction (blood-retina barrier) in the eye
Glomerular filtration barrier (blood-urine barrier) in the kidney
Retinochoroidal junction (blood-retina barrier) in the eye

## Slide 5
SLIT is a potential biomarker for gestational diabetes mellitus (GDM)

## Slide 6
SLIT-ROBO signaling
CC0
CC2
CC3
CC1
SLIT
ROBO
Axon pathfinding
Cell migration, adhesion
neurons, cancer cells, neutrophils, etc.
Cell membrane
SRGAP1

## Slide 7
SLIT expression is upregulated in diabetic retinopathy

## Slide 8: SLIT Expression is Upregulated in Proliferative Diabetic Retinopathy (PDR)
Measured by sandwich ELISA
LLOD = 1,000 pg/mL
ULOD = 50,000 pg/mL

## Slide 9: MSD Immunoassay Technology

## Slide 10: MSD vs Traditional ELISA
Require far less sample
Provide more sensitive and precise results
Handle complex biological matrices easily
Use simpler, faster protocols
Quantify up to 10 analytes per well
Measure elevated and normal expression samples without multiple dilutions

## Slide 11: Developing Highly Sensitive SLIT MSD Biomarker Immunoassay
SLIT Protein
SLIT MSD
MESO QuickPlex SQ 120

## Slide 12: SLIT MSD Standard Optimization
Concentration
Signal
LLOD = 5pg/mL
ULOD = 20,000 pg/mL

## Slide 13: New SLIT MSD Assay Shows High Vitreous SLIT Concentration Compared to Serum

## Slide 14: New SLIT MSD Assay Shows Upregulation of SLIT in Diabetic Retinopathy Samples
No Diabetic Retinopathy
Diabetic Retinopathy
Vitreous Fluid SLIT Concentration (pg/mL)

## Slide 15: SUMMARY
We have developed a highly sensitive SLIT MSD biomarker immunoassay
We optimized concentrations of antibody used for assay
We found SLIT concentration in vitreous fluid to be 7 times higher than in the serum
Pilot study indicates trend of increased SLIT concentration in vitreous fluid in diabetic retinopathy patient samples compared to non-diabetic samples
Additional vitreous fluid samples are needed to confirm our findings

## Slide 16
Acknowledgement
Dr. Weining Lu’s Lab
Weining Lu
Sudhir Kumar
Xueping Fan
Jacqueline Alford
Olivia Kierul
MSD
Virginie Esain
Grant Funding
NIH/NIDDK, DOD, Pfizer CTI, BU CTSI Pilot Grant, BU UROP, BU Ignition Award
Dr. Sushrut Waikar’s Lab
Sushrut Waikar
Insa Schmidt
Courtney Huynh
Dr. Manju Subramanian Lab
Manju Subramanian
Sara Shoushtari
Zahra Sheikh
Sreevardhan Alluri